## Slide 1
PANDUAN PENGISIAN TEMPLAT
PERMOHONAN KELULUSAN TEKNIKAL PROJEK ICT
(TEMPLAT PERMOHONAN JTISA – BAGI PEROLEHAN YANG MELIBATKAN PERALATAN RANGKAIAN)
Templat Versi 3.00
Tarikh Kemaskini: 12 Ogos 2024

## Slide 2
BIL. | PERKARA | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  |  |  | 
1. |  | XX | XXX.XX | XXX,XXX.XX | 
2. |  | XX | XXX.XX | XXX,XXX.XX | 
3. |  | XX | XXX.XX | XXX,XXX.XX | 
4. |  | XX | XXX.XX | XXX,XXX.XX | 
5. |  | XX | XXX.XX | XXX,XXX.XX | 
 | JUMLAH (D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XXX,XXX.XX | 
Perincian Peruntukan:
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
2

## Slide 3
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
1. | Core Switch :- |  |  |  |  | 
 | Capacity |  |  |  |  | 
 | Performance |  |  |  |  | 
 | Scalability |  |  |  |  | 
 | Port Type and Density |  |  |  |  | 
 | High Availability |  |  |  |  | 
 | Network Management and Monitoring |  |  |  |  | 
 | Safety Features |  |  |  |  | 
 | Quality of Service (QoS) |  |  |  |  | 
 | Routing Layer 3 Ability |  |  |  |  | 
 | Stacking and Virtualization |  |  |  |  | 
 | Energy Efficient |  |  |  |  | 
 | Supplier Support and Future Roadmap |  |  |  |  | 
Notes: Letak contoh kat semua, buang nota

## Slide 4
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 2 | 180,000.00 | 360,000.00 | Lokasi : 2 Hospital di Kuala Lumpur dan Selangor.
1. | Core Switch :- |  |  |  |  | 
 | Capacity | - Min 4.8 Tb/s |  |  |  | 
 | Performance | - Forward rate : 2976 Mpps - Latency : <450 ns |  |  |  | 
 | Scalability | - Modular (Upgrade for future growth) - Atleast 4 slot |  |  |  | 
 | Port Type and Density | - 48 ports, - Support 10GB SFP+ and 25G/40G/200G - SFP28/QSFP28 with data rates atleast 25 Gbps |  |  |  | 
 | Redundancy | - Redundant Switch - support hot-swappable power supplies |  |  |  | 
 | High Availability | - (HA) such as Virtual Router Redundancy Protocol (VRRP). - Must Contain In-Service Software Upgrade(ISSU) |  |  |  | 
 | Network Management and Monitoring | - SNMPv1, v2c, v3 and CLI - of advanced monitoring capabilities such as traffic analysis, performance statistics and network health monitor |  |  |  | 
 | Safety Features | Access Control List (ACL), Virtual Local Area Network (VLAN), port security and Denial of Service (DoS) Protection and support 802.1x, address filtering, MAC control with role-based access control. |  |  |  | 
 | Quality of Service (QoS) | Comes with traffic classification specifications like control Traffic Classification , Traffic Marking such as queuing mechanism and bandwidth control |  |  |  | 
 | Routing Layer 3 Ability | Virtual Local Area Network (VLAN), Spanning Tree Protocol (STP) IEEE 802.1D, Routing Information Protocol (RIP), Open Shortest Path First (OSPF) |  |  |  | 
 | Stacking and Virtualization | Support stacking technologies or virtualization for network management and high scalability |  |  |  | 
 | Energy Efficient | 802.3az |  |  |  | 
 | Supplier Support and Future Roadmap | Firmware upgrade, bug fixingand relevance with emerging technologies |  |  |  | 

## Slide 5
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
2. | Distribution Switch :- |  |  |  |  | 
 | Capacity |  |  |  |  | 
 | Performance |  |  |  |  | 
 | Port Type |  |  |  |  | 
 | Port Density |  |  |  |  | 
 | Uplink Capacity |  |  |  |  | 
 | Routing Layer 3 Ability |  |  |  |  | 
 | Virtual Local Area Network (VLAN) |  |  |  |  | 
 | Quality of Service (QoS) |  |  |  |  | 
 | Redundancy and High Availability |  |  |  |  | 
 | Management and Monitoring |  |  |  |  | 
 | Safety Features |  |  |  |  | 
 | Supplier Support and Future Roadmap |  |  |  |  | 

## Slide 6
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1 | 19,000.00 | 19,000.00 | Lokasi : Hospital Kuala Lumpur di bahagian xxx
2. | Distribution Switch :- |  |  |  |  | 
 | Capacity | Min 1.76 Tb/s |  |  |  | 
 | Performance | Throughput/Forwarding rates: Min 759 Mpps |  |  |  | 
 | Port Type | SFP+, QSFP+ and QSFP28 minimum 25GbE |  |  |  | 
 | Port Density | 48 Port |  |  |  | 
 | Uplink Capacity | LCAP Minimum uplink 10Gbps or 2x10Gbps with (IEEE 802.3ad) |  |  |  | 
 | Routing Layer 3 Ability | Vlan, OSPF and BGP |  |  |  | 
 | Virtual Local Area Network (VLAN) | Switch Supported |  |  |  | 
 | Quality of Service (QoS) | Control Traffic Classification , Traffic Marking such as queuing mechanism and bandwidth control |  |  |  | 
 | Redundancy and High Availability | - Redundant and hot-swappable power supplies - Supported for High Availability (HA) such as Virtual Router Redundancy Protocol (VRRP) - In-Service Software Upgrade (ISSU) |  |  |  | 
 | Management and Monitoring | - SNMPv1, v2c, v3 and CLI - advanced monitoring capabilities such as traffic analysis, performance statistics and network health monitor Port Mirroring, Quality of Service (QoS) Monitoring, Security Monitoring. |  |  |  | 
 | Safety Features | Access Control List (ACL), Virtual Local Area Network (VLAN), port security and Denial of Service (DoS) protection with 802.1X, and MAC |  |  |  | 
 | Supplier Support and Future Roadmap | Firmware upgrade, bug fixing and relevance with emerging technologies |  |  |  | 

## Slide 7
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
3. | Access Switch :- |  |  |  |  | 
 | Capacity |  |  |  |  | 
 | Performance |  |  |  |  | 
 | Port Type |  |  |  |  | 
 | Port Density |  |  |  |  | 
 | Power over Ethernet (PoE) or Power Over Ethernet+ (PoE+) |  |  |  |  | 
 | Uplink Capacity |  |  |  |  | 
 | Virtual Local Area Network (VLAN) |  |  |  |  | 
 | Quality of Service (QoS) |  |  |  |  | 
 | Safety Features |  |  |  |  | 
 | Network Management and Monitoring |  |  |  |  | 
 | Redundancy and High Availability |  |  |  |  | 
 | Energy Efficient |  |  |  |  | 
 | Supplier Support and Future Roadmap |  |  |  |  | 

## Slide 8
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1 | 8,000.00 | 8,000.00 | Lokasi : Hospital Kuala Lumpur di bahagian xxx
3. | Access Switch :- |  |  |  |  | 
 | Capacity | Min 176 Gbps |  |  |  | 
 | Performance | Min 130.9 Mpps |  |  |  | 
 | Port Type | PoE+ ports support 1G RJ45, 1G/2.5G RJ45 and 1G/10G SFP+ |  |  |  | 
 | Port Density | 24 or 48 PoE+ ports |  |  |  | 
 | Power over Ethernet (PoE) or Power Over Ethernet+ (PoE+) | Supported with 15,4 watt or 30 watts |  |  |  | 
 | Uplink Capacity | uplink 10Gbps or 2x10Gbps by Link Aggregation Control Protocol (LACP) (IEEE 802.3ad) |  |  |  | 
 | Virtual Local Area Network (VLAN) | Supported |  |  |  | 
 | Quality of Service (QoS) | Support Traffic Classification example Layer 2, Layer 3 and Application Based. Traffic Policing, Traffic Shaping and Queuing and Scheduling |  |  |  | 
 | Safety Features | Access Control List (ACL), Virtual Local Area Network (VLAN), Port security and Denial of Service (DoS), and Authentication standards 802.1X, address filtering, Media Access Control (MAC) |  |  |  | 
 | Network Management and Monitoring | SNMPv1, v2c, v3, CLI and SSH advanced monitoring capabilities such as traffic analysis, performance statistics and network health monitor |  |  |  | 
 | Redundancy and High Availability | (HA) such as Spanning Tree Protocol (STP) IEEE 802.1D or Rapid Spanning Tree Protocol (RSTP) IEEE 802.1w |  |  |  | 
 | Energy Efficient | Energy-Efficient Ethernet (IEEE) 802.3az Sleep mode port or dynamic power allocation |  |  |  | 
 | Supplier Support and Future Roadmap | Firmware upgrade, bug fixing and relevance with emerging technologies |  |  |  | 

## Slide 9
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  |  |  |  | 
4. | Transceiver Single Mode :- |  | XX | XXX.XX | XXX,XXX.XX | 
 | Form Factor |  |  |  |  | 
 | Data Rate and Protocol |  |  |  |  | 
 | Fiber Type and Distance |  |  |  |  | 
 | Connector |  |  |  |  | 
 | Wavelength |  |  |  |  | 
 | Digital Diagnostics Monitoring (DDM) if needed |  |  |  |  | 
 | Compatibility |  |  |  |  | 
 | Quality and Trust |  |  |  |  | 
 | Supplier Support |  |  |  |  | 

## Slide 10
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 3 | 150.00 | 450.00 | catatan : xxxxxxx
4. | Transceiver Single Mode :- |  |  |  |  | 
 | Form Factor | -SFP28 |  |  |  | 
 | Data Rate and Protocol | -25.78 Gbps with QSFP28 |  |  |  | 
 | Fiber Type and Distance | -OS1 with 100 metter |  |  |  | 
 | Connector | -LC |  |  |  | 
 | Wavelength | -1310nm |  |  |  | 
 | Digital Diagnostics Monitoring (DDM) if needed | Diagnotics reported, temperature monitor, voltage moitor and power optic level. |  |  |  | 
 | Compatibility | Compatible with related switch, router or Network Interface Card (NIC) |  |  |  | 
 | Quality and Trust | Certified producer such as comes with warranty, product certificate and customer review |  |  |  | 
 | Supplier Support | Firmware update and compatibility guarantee |  |  |  | 

## Slide 11
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
5. | Transceiver Multi Mode :- |  |  |  |  | 
 | Form Factor |  |  |  |  | 
 | Data Rate and Protocol |  |  |  |  | 
 | Fiber Type and Distance |  |  |  |  | 
 | Connector |  |  |  |  | 
 | Wavelength |  |  |  |  | 
 | Digital Diagnostics Monitoring (DDM) if needed |  |  |  |  | 
 | Compatibility |  |  |  |  | 
 | Quality and Trust |  |  |  |  | 
 | Supplier Support |  |  |  |  | 

## Slide 12
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 2 | 320.00 | 640.00 | Cacatan : xxxxxx
5. | Transceiver Multi Mode :- |  |  |  |  | 
 | Form Factor | SFP28 |  |  |  | 
 | Data Rate and Protocol | 25.78 Gbps |  |  |  | 
 | Fiber Type and Distance | OM3 with 200m maximum distance |  |  |  | 
 | Connector | LC |  |  |  | 
 | Wavelength | 850nm |  |  |  | 
 | Digital Diagnostics Monitoring (DDM) if needed | Diagnotics reported, temperature monitor, voltage monitor and power optic level. |  |  |  | 
 | Compatibility | Compatible with related switch, router or Network Interface Card (NIC) |  |  |  | 
 | Quality and Trust | Certified producer such as comes with warranty, product certificate and customer |  |  |  | 
 | Supplier Support | Firmware update and compatibility guarantee |  |  |  | 

## Slide 13
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
6. | Access Point Indoor :- |  |  |  |  | 
 | Wireless Standards |  |  |  |  | 
 | Wireless Frequency Band |  |  |  |  | 
 | Data Transfer Rate |  |  |  |  | 
 | Antenna and Coverage |  |  |  |  | 
 | Power over Ethernet (PoE)Support |  |  |  |  | 
 | Safety Features |  |  |  |  | 
 | Management and Monitoring |  |  |  |  | 
 | Mobility and roaming |  |  |  |  | 
 | Scalability and Expandability |  |  |  |  | 
 | Virtual Local Area Network (VLAN) and Quality of Service (QoS) |  |  |  |  | 
 | Guest Network Functionality |  |  |  |  | 
 | Supplier support and Reputation |  |  |  |  | 

## Slide 14
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1 | 720.00 | 720.00 | 
6. | Access Point Indoor :- |  |  |  |  | 
 | Wireless Standards | IEEE 802.11ax with WI-Fi 6. |  |  |  | 
 | Wireless Frequency Band | Operate in 2.4GHz / 5GHz / 6GHz to support all appliances |  |  |  | 
 | Data Transfer Rate | 2.4 GHz radio: 802.11ax/be 4x4 up to 1.147 Gbps 5 GHz radio: 802.11ax/be 4x4 up to 4.8 Gbps |  |  |  | 
 | Antenna and Coverage | 4.92 dBi/6.1 dBi with multiple antenna |  |  |  | 
 | Power over Ethernet (PoE)Support | With 30 watt |  |  |  | 
 | Safety Features | WPA3 protocol with AES Encryption and two authentication 2FA |  |  |  | 
 | Management and Monitoring | Support for remote monitoring SSH and CLI |  |  |  | 
 | Mobility and roaming | Seamless Connectivity, Load Balancing, Band Steering and Fast Roaming with 802.11v (Wireless Network Management). |  |  |  | 
 | Scalability and Expandability | Centralized Management with Wireless LAN Controllers (WLCs) / Support for High Device Density MU-MIMO (Multi-User, Multiple Input Multiple Output) |  |  |  | 
 | Virtual Local Area Network (VLAN) and Quality of Service (QoS) | Support VLAN mapping and Trunking, Traffic Prioritization with Voip, Video conferencing or streaming with WMM. |  |  |  | 
 | Guest Network Functionality | Separate Service Set Identifier (SSID) and guest traffic |  |  |  | 
 | Supplier support and Reputation | Warranty, technical support, firmware upgrade and trust |  |  |  | 

## Slide 15
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
7. | Access Point Outdoor :- |  |  |  |  | 
 | Wireless Standards |  |  |  |  | 
 | Wireless Frequency Band |  |  |  |  | 
 | Data Transfer Rate |  |  |  |  | 
 | Antenna and Coverage |  |  |  |  | 
 | Power over Ethernet (PoE) Support |  |  |  |  | 
 | Safety Features |  |  |  |  | 
 | Management and Monitoring |  |  |  |  | 
 | Mobility and roaming |  |  |  |  | 
 | Scalability and Expandability |  |  |  |  | 
 | Virtual Local Area Network (VLAN) and Quality of Service (QoS) |  |  |  |  | 
 | Guest Network Functionality |  |  |  |  | 
 | Supplier support |  |  |  |  | 
 | Installation and physical Protection |  |  |  |  | 
 | Temperature adjustment suitability |  |  |  |  | 
 | Resilience to Environmental Conditions |  |  |  |  | 
 | Range and Signal strength |  |  |  |  | 
 | Adaptive Signal Adjustment |  |  |  |  | 

## Slide 16
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1 | 720.00 | 720.00 | 
7. | Access Point Outdoor :- |  |  |  |  | 
 | Wireless Standards | Support latest wireless standards such as IEEE 802.11ax/be (Wi-Fi 6/6E/7) |  |  |  | 
 | Wireless Frequency Band | Operate in 2.4GHz / 5GHz / 6GHz. Dual/Tri-band |  |  |  | 
 | Data Transfer Rate | 10.7Gbps |  |  |  | 
 | Antenna and Coverage | 4.92 dBi/5.8 dBi with multiple antenna |  |  |  | 
 | Power over Ethernet (PoE) Support | minimal 25.5 watts |  |  |  | 
 | Safety Features | WPA3 protocol with AES Encryption and two authentication 2FA |  |  |  | 
 | Management and Monitoring | Support for remote monitoring SSH and CLI |  |  |  | 
 | Mobility and roaming | Seamless Connectivity, Load Balancing, Band Steering and Fast Roaming with 802.11v (Wireless Network Management), mesh networking and AP density management. |  |  |  | 
 | Scalability and Expandability | Centralized Management with Wireless LAN Controllers (WLCs) / Support for High Device Density MU-MIMO (Multi-User, Multiple Input Multiple Output) |  |  |  | 
 | Virtual Local Area Network (VLAN) and Quality of Service (QoS) | Support VLAN mapping and Trunking, Traffic Prioritization with Voip, Video conferencing or streaming with WMM. |  |  |  | 
 | Guest Network Functionality | Separate Service Set Identifier (SSID) and guest traffic |  |  |  | 
 | Supplier support | Warranty, technical support, firmware upgrade and trust |  |  |  | 
 | Installation and physical Protection | Supported in secure public or private cloud IP67 rated outdoor use |  |  |  | 
 | Temperature adjustment suitability | Operating: -40° C to 60° C (-40° F to + 140 F) |  |  |  | 
 | Resilience to Environmental Conditions | Waterproof, dustproof and capable of withstanding harsh weather, such as heavy rain or other extreme conditions |  |  |  | 
 | Range and Signal strength | Outdoor Dual Radio/Number of radios: 3 |  |  |  | 
 | Adaptive Signal Adjustment | TCP and RF based from signal |  |  |  | 

## Slide 17
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
8. | Wireless Controller :- |  |  |  |  | 
 | Scalability and Capacity |  |  |  |  | 
 | Management and Configuration |  |  |  |  | 
 | Safety Features |  |  |  |  | 
 | Quality of Services (QoS) and Traffic Monitoring |  |  |  |  | 
 | Redundancy and High Availability |  |  |  |  | 
 | Integration and Interoperability |  |  |  |  | 
 | Reporting and Analysis |  |  |  |  | 
 | Guest Portal |  |  |  |  | 
 | Regulatory and Compliance Requirements |  |  |  |  | 
 | Supplier Support and Future |  |  |  |  | 

## Slide 18
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1 | 1000.00 | 1000.00 | 
8. | Wireless Controller :- |  |  |  |  | 
 | Scalability and Capacity | Access Points: 512 with 20 Gbps Maximum WLANs:4096 Maximum VLANs : 4096 |  |  |  | 
 | Management and Configuration | Management of wireless and wired network Single pane monitoring, Management task automation Performance insights and KPIs for Access Point (Health, SSID, throughput, band utilization) |  |  |  | 
 | Safety Features | WPA3 802.1x Intrusion Detection System (IDS) Intrusion Prevention System (IPS) |  |  |  | 
 | Quality of Services (QoS) and Traffic Monitoring | Support Traffic Classification and Prioritization, Bandwidth Allocation, Real-Time Traffic Analytics, Access Point (AP) Performance Monitoring |  |  |  | 
 | Redundancy and High Availability | Dual controller features in active standby configuration or controller clustering |  |  |  | 
 | Integration and Interoperability | Simple Network Management Protocol (SNMP), Syslog, Remote Authentication Dial-In User Service (RADIUS) |  |  |  | 
 | Reporting and Analysis | Network performance features User behaviors Security Incidents |  |  |  | 
 | Guest Portal | Support guest access such as captive portal, guest verification and guest Policy |  |  |  | 
 | Regulatory and Compliance Requirements | Support by FCC and CE |  |  |  | 
 | Supplier Support and Future | Patches upgrade, firmware upgrade and technical support |  |  |  | 

## Slide 19
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
9. | Cloud Wireless Controller :- |  |  |  |  | 
 | Scalability and Capacity |  |  |  |  | 
 | Multi-tenancy support |  |  |  |  | 
 | Network Management |  |  |  |  | 
 | Security and Access Control |  |  |  |  | 
 | Seamless Roaming and Quality of Service (QoS) |  |  |  |  | 
 | Integration and Interoperability |  |  |  |  | 
 | Guest Access and Captive Portal |  |  |  |  | 
 | Reporting and Analysis |  |  |  |  | 
 | Supplier support and Update |  |  |  |  | 
 | Cost and Licensing |  |  |  |  | 
 | Deployment |  |  |  |  | 
 | Wireless Standard Requirements |  |  |  |  | 

## Slide 20
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1 | 4000.00 | 4000.00 | 
9. | Cloud Wireless Controller :- |  |  |  |  | 
 | Scalability and Capacity | 1,000 managed devices |  |  |  | 
 | Multi-tenancy support | Tenant Isolation, Role-Based Access Control (RBAC), Tenant-Specific Analytics and Reporting, Secure Data Separation |  |  |  | 
 | Network Management | Management of wireless and wired network Single pane monitoring, Management task automation Performance insights and KPIs for Access Point (Health, SSID, throughput, band utilization) |  |  |  | 
 | Security and Access Control | Comes with built in security: runtime defenses, image signing and integrity verification Encrypted Traffic Analytics (ETA) |  |  |  | 
 | Seamless Roaming and Quality of Service (QoS) | Supported Centralized Management of Aps, Bandwidth Allocation Traffic Prioritization and Classification |  |  |  | 
 | Integration and Interoperability | Application Programming Interface (API) |  |  |  | 
 | Guest Access and Captive Portal | Support guest access such as captive portal, guest verification and guest policy |  |  |  | 
 | Reporting and Analysis | reporting and analysis features such as: - Network performance features - User behaviors - Security Incidents |  |  |  | 
 | Supplier support and Update | Corrective Maintenance, Patches upgrade, firmware upgrade and technical support |  |  |  | 
 | Cost and Licensing | License enable is calculated by the number of AP |  |  |  | 
 | Deployment | Public or private cloud |  |  |  | 
 | Wireless Standard Requirements | Supports the same wireless standards (e.g., IEEE 802.11a,802.11b, 802.11g, 802.11d, 802.11h, 802.11n, 802.11k,802.11r, 802.11u, 802.11w, 802.11ac, 802.11ax) as the access point |  |  |  | 

## Slide 21
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
10. | Network Management System :- |  |  |  |  | 
 | Network Monitoring |  |  |  |  | 
 | Fault Management |  |  |  |  | 
 | Performance Management |  |  |  |  | 
 | Configuration Management |  |  |  |  | 
 | Network Mapping and Visualization |  |  |  |  | 
 | Network Inventory Management |  |  |  |  | 
 | Network Security Management |  |  |  |  | 
 | Scalability and Performance |  |  |  |  | 
 | User Interface (UI) and User Convenience |  |  |  |  | 
 | Integration and Compatibility |  |  |  |  | 
 | Supplier Support and Reputation |  |  |  |  | 

## Slide 22
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1 | 80,000.00 | 80,000.00 | Akan dipasang pada server hospital cheras dengan kadar 14 peranti
10. | Network Management System :- |  |  |  |  | 
 | Network Monitoring | Collect data on network performance metrics such as bandwidth utilization, latency, packet loss, CPU and memory usage and other relevant statistics |  |  |  | 
 | Fault Management | Predictive analytic function: Provide threshold alert on trend projections and network anomalies, accelerating issue resolution by quickly identifying root causes |  |  |  | 
 | Performance Management | Performance Analysis and Reporting: The NMS should offer tools for analyzing historical data, generating reports and visualizing network performance trends. |  |  |  | 
 | Configuration Management | Layer 2/3 number of innovative discovery technologies: Including ARP, SNMP, SSH, NetFlow, Virtual Infrastructure Management, IP addressing, ICMP and LLDP |  |  |  | 
 | Network Mapping and Visualization | Network Mapping and Visualization: The NMS topology |  |  |  | 
 | Network Inventory Management | Device Discovery and Auto-Discovery discovering network devices automatically, including switches, routers, servers and other network components |  |  |  | 
 | Network Security Management | Alerting and Notification: The NMS should be able to generate alerts and notifications based on predefined thresholds |  |  |  | 
 | Scalability and Performance | Able to collects statistics on devices performance, alarm data, traps, user data and analyzes the collected statistics to perform root cause |  |  |  | 
 | User Interface (UI) and User Convenience | Able to produce reporting and monitoring |  |  |  | 
 | Integration and Compatibility | Simple Network Management Protocol (SNMP) Syslog Application Programming Interface (API) |  |  |  | 
 | Supplier Support and Reputation | Firmware update and compatibility guarantee |  |  |  | 

## Slide 23
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
11. | Fiber Optic Cable Multimode:- |  |  |  |  | 
 | Fiber Type |  |  |  |  | 
 | Core Size |  |  |  |  | 
 | Bandwidth and Data Rate |  |  |  |  | 
 | Cable Length and Distance |  |  |  |  | 
 | Connector |  |  |  |  | 
 | Attenuation and Signal Loss |  |  |  |  | 
 | Protective Layers |  |  |  |  | 
 | Certification and Compliance |  |  |  |  | 
 | Supplier Support and Warranty |  |  |  |  | 

## Slide 24
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 1500 m | 390.00 | 390.00 | xxxxxxx
11. | Fiber Optic Cable Multimode:- |  |  |  |  | 
 | Fiber Type | OM4 |  |  |  | 
 | Core Size | 50/125 µm |  |  |  | 
 | Bandwidth and Data Rate | 10Gbps ethernet distance supports up to 500m distance at 850nm with less than 2.9 dB Bandwidth laser (minimum) 4,700 MHzkm @ 850 nm or 500 MHz-km @ 1,300 nm |  |  |  | 
 | Cable Length and Distance | 1500m |  |  |  | 
 | Connector | Subscriber Connector (SC), Lucent Connector (LC) |  |  |  | 
 | Protective Layers | Low Smoke Zero Halogen Riser Distribution Cable, 6 Fiber, Aqua Jacket |  |  |  | 
 | Attenuation and Signal Loss | Maximum 3.00dB/km at 850 nm, 1.5 dB/km at 1300 nm or 1.5 dB/km at 1300nm |  |  |  | 
 | Certification and Compliance | Standard comply TIA-492AAAD (OM4) Cable Qualification Standards: ANSI/ICEA S-83-596 ¦ Telcordia GR-409 |  |  |  | 
 | Supplier Support and Warranty | Supported |  |  |  | 

## Slide 25
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
12. | Fiber Optic Cable Singlemode:- |  |  |  |  | 
 | Fiber Type |  |  |  |  | 
 | Core Size |  |  |  |  | 
 | Bandwidth and Data Rate |  |  |  |  | 
 | Cable Length and Distance |  |  |  |  | 
 | Connector |  |  |  |  | 
 | Protective layers |  |  |  |  | 
 | Attenuation and Signal Loss |  |  |  |  | 
 | Certification and Compliance |  |  |  |  | 
 | Supplier Support and Warranty |  |  |  |  | 
 | Fiber Type |  |  |  |  | 

## Slide 26
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 200m | 150.00 | 150.00 | xxxxxxxx
12. | Fiber Optic Cable Singlemode:- |  |  |  |  | 
 | Fiber Type | OS1 |  |  |  | 
 | Core Size | 9/125 µm |  |  |  | 
 | Bandwidth and Data Rate | Optimum performance from 1265nm to 1625nm Suitable for 16-channel Course Wavelength Division Multiplexing (CDDM) |  |  |  | 
 | Cable Length and Distance | Jarak antara Coreswitch ke Distribution Switch melebihi 200m |  |  |  | 
 | Connector | Subscriber Connector (SC), Lucent Connector (LC) |  |  |  | 
 | Protective layers | Single mode Corrugated Steel Armoured Zero Water Peak outdoor cable |  |  |  | 
 | Attenuation and Signal Loss | 0.40 dB/km at 1310 nm and 0.30 dB/km at 1550 nm |  |  |  | 
 | Certification and Compliance | Dispersion-unshifted, ITU-T G.652.D ¦ ITU-T G.657.A1 ¦ TIA-492CAAB (OS2) |  |  |  | 
 | Supplier Support and Warranty | Supported |  |  |  | 

## Slide 27
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
13. | STP Cable CAT6a:- |  |  |  |  | 
 | STP Category |  |  |  |  | 
 | Cable Length and Distance |  |  |  |  | 
 | Bandwidth and Performance |  |  |  |  | 
 | Conductor Size and Material |  |  |  |  | 
 | Insulation and Protective Layers |  |  |  |  | 
 | Cable Construction |  |  |  |  | 
 | Certification and Compliance |  |  |  |  | 
 | Quality and Trust |  |  |  |  | 
 | Supplier Support and Warranty |  |  |  |  | 

## Slide 28
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 50m | 366.19 | 366.19 | Cacatan : xxxxxxx
13. | STP Cable CAT6a:- |  |  |  |  | 
 | STP Category | CAT 6a STP |  |  |  | 
 | Cable Length and Distance | 50meter |  |  |  | 
 | Bandwidth and Performance | Data rate: Up to 10Gbps for longer distance (100m) - 500 MHz frequencies |  |  |  | 
 | Conductor Size and Material | 23 AWG stranded copper insulated with foamed polyethylene |  |  |  | 
 | Insulation and Protective Layers | - Isolated wih Polyethylene - Overall shielding of the cable with braided or foil shield |  |  |  | 
 | Cable Construction | Twisted pair cable Each pair is shielded with a foil layer (individual shielding) |  |  |  | 
 | Certification and Compliance | - ISO/IEC 11801 Class EA, TIA/EIA-568- C.2 or any equivalents |  |  |  | 
 | Supplier Support and Warranty | Support |  |  |  | 

## Slide 29
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | XX | XXX.XX | XXX,XXX.XX | 
14. | UTP Cable CAT6a:- |  |  |  |  | 
 | UTP Category |  |  |  |  | 
 | Cable Length and Distance |  |  |  |  | 
 | Bandwidth and Performance |  |  |  |  | 
 | Conductor Size and Material |  |  |  |  | 
 | Insulation and Protective Layers |  |  |  |  | 
 | Cable Construction |  |  |  |  | 
 | Certification and Compliance |  |  |  |  | 
 | Quality and Trust |  |  |  |  | 
 | Supplier Support and Warranty |  |  |  |  | 

## Slide 30
12. PERINCIAN KOS: (D) RANGKAIAN DAN PERALATAN RANGKAIAN
Perincian Peruntukan:
BIL. | PERKARA |  | KUANTITI Per (Meter) | HARGA SEUNIT (RM) | JUMLAH (RM) | CATATAN
(D) RANGKAIAN DAN PERALATAN RANGKAIAN |  |  | 60m | 30.00 | 30.00 | cacatan: xxxxxxxx
14. | UTP Cable CAT6a:- |  |  |  |  | 
 | UTP Category | CAT 6a UTP |  |  |  | 
 | Cable Length and Distance | 60meter |  |  |  | 
 | Bandwidth and Performance | Data rate: Up to 10Gbps with maximum distance 100m - 500 MHz frequencies - Fulfill requirements of TIA/EIA-568 or ISO/IEC 11801 |  |  |  | 
 | Conductor Size and Material | 23 AWG solid bare copper insulated with polyethylene material |  |  |  | 
 | Insulation and Protective Layers | Category 6a U/UTP (unshielded) cable be Low Smoke Zero Halogen LSZH rated in blue color jacket, conductor separated with isolator |  |  |  | 
 | Cable Construction | Twisted pair cable |  |  |  | 
 | Certification and Compliance | IEEE 802.3bt (Type 4) or any equivalents for the safe delivery of power over LAN cable when installed according to ISO/IEC 14763-2, CENELEC EN 50174-1, CENELEC EN 50174-2 or TIA TSB-184-A |  |  |  | 
 | Supplier Support and Warranty | Supported |  |  |  |